[Named Provider]

Programme Module for

Cable and Pre-installation Techniques

leading to

Level 5 FETAC

Cable and Pre-installation Techniques 5N1772

Introduction
This programme module may be delivered as a standalone module leading to certification in a FETAC minor award. It may also be delivered as part of an overall validated programme leading to a Level 5 FETAC Certificate.

The teacher/tutor should familiarise themselves with the information contained in [Named Provider]’s programme descriptor for the relevant validated programme prior to delivering this programme module.

The programme module is structured as follows:

- Title of Programme Module

- FETAC Component Title and Code

- Duration in hours

- Credit Value of FETAC Component

- Status

- Special Requirements

- Aim of the Programme Module

- Objectives of the Programme Module

- Learning Outcomes

- Indicative Content

- Assessment - Assessment Technique(s) - Mapping of Learning Outcomes to Assessment Technique(s) - Guidelines for Assessment Activities

- Grading

- Learner Marking Sheet(s), including Assessment Criteria

Integrated Delivery and Assessment

The teacher/tutor is encouraged to integrate the delivery of content where an overlap between content of this programme module and one or more other programme modules is identified. This programme module will facilitate the learner to develop the academic and vocational language, literacy and numeracy skills relevant to the themes and content of the module.

Likewise the teacher/tutor is encouraged to integrate assessment where there is an opportunity to facilitate a learner to produce one piece of assessment evidence which demonstrates the learning outcomes from more than one programme module. The integration of the delivery and assessment of level 5 Communications and level 5 Mathematics modules with that of other level 5 modules is specifically encouraged, as appropriate.

Indicative Content
The indicative content in Section 10 does not cover all teaching possibilities. The teacher/tutor is encouraged to be creative in devising and implementing other approaches, as appropriate. The use of examples is there to provide suggestions. The teacher/tutor is free to use other examples, as appropriate. The indicative content ensures all learning outcomes are addressed but it may not follow the same sequence as that in which the learning outcomes are listed in Section 9. It is the teacher’s/tutor’s responsibility to ensure that all learning outcomes are included in the delivery of this programme module.

- Title of Programme Module Cable and Pre-installation Techniques

- Component Name and Code Cable and Pre-installation Techniques 5N1772

- Duration in Hours 150 Hours (typical learner effort, to include both directed and self directed learning)

- Credit Value 15 Credits

- Status This programme module may be compulsory or optional within the context of the validated programme. Please refer to the relevant programme descriptor, Section 9 Programme Structure

- Special Requirements None. However, good colour vision is very strongly recommended

- Aim of the Programme Module This programme module aims to equip the learner with the knowledge, skill and competence to safely install all cabling and trunking necessary to operate and control security systems to recognised standards.

- Objectives of the Programme Module - To enable the learner to safely install security system components to recognised standards - To enable the learner to Interpret a range of electrical terminology to include terms associated with hardwiring, resistors, relays, latching, open and closed circuits. voltage, watt, amp, types of power supply - To assist the learner to create colour coded cabling diagrams for a range of security systems. - To enable the learner to terminate a range of cables to include coaxial, fibre optic and electrical. - To facilitate the learner to operate a range of testing and fault finding procedures for security devices to include test for live electrical current. - To enable the learner to develop appropriate health and safety skills - To assist the learner to develop the academic and vocational language, literacy and numeracy skills related to (Security systems technology/security systems) through the medium of the indicative content - To enable the learner to take responsibility for his/her own learning.

- Learning Outcomes of Level 5 Cable and Pre-installation Techniques 5N1772

Learners will be able to:

- Summarise key legislation and standards relating to electronic security systems components, to include closed circuit television (CCTV), lighting and video systems, cabling and trunking

- Analyse the characteristics of a range of component and devices employed in security systems to include types of cable, fixings, types of cable protectors, batteries, transformer and a generator

- Analyse health and safety implications in relation to use and installation of electrical equipment and suggest initiatives aimed at reducing associated risks

- Explain the characteristics of a range of materials utilised by the security installation sector to include fixings, adhesives and clips

- Interpret a range of electrical terminology to include terms associated with hardwiring, resistors, relays, latching, open and closed circuits. voltage, watt, amp, types of power supply

- Outline the criteria for situating a range of security devices to include CCTV cameras, intruder alarms, smoke detectors, emergency lights and signs, access control panels

- Analyse the characteristics of a range of signal transmission media used in security systems to include co-axial, fibre optic, microwave, infra red links, multi core cable, twisted pair cable, screened cable, data cable

- Explain the use of colour coding in relation to electrical cables

- Outline a range of testing and fault finding procedures for security devices to include test for live electrical current

- Analyse the use of radio signal based installation in comparison to a hardwired installation

- Outline a range of precautions to be taken when situating cables

- Interpret data from a given system specification or blueprint

- Apply connectors to a range of cables to include coaxial, fibre optic and electrical

- Employ a range of installation techniques to include positioning /fixing cables, cable cutting, cutting/fixing cable protectors, cable identification, fixing connectors, junction boxes and sleeving

- Work independently with a range of hand and power tools to include drills, screwdrivers, cutters and electrical test equipment

- Create a range of relevant documentation in relation to testing, fault finding, maintenance and safety

- Create cabling diagrams for a range of security systems

- Demonstrate the ability to connect a system to the mains supply by the use of a spur socket.

- Indicative Content This section provides suggestions for programme content but is not intended to be prescriptive. The programme module can be delivered through classroom based learning activities, group discussions, one-to-one tutorials, field trips, case studies, role play and other suitable activities, as appropriate.

There are practical elements to this module requiring access to a range of materials, resources and equipment and the learner should be allocated adequate time and facilities to complete each task. All practical activities should exemplify safe working practices and reinforce standard health, safety and environmental concerns.

Section 1 : Legislation

Summarise key legislation and standards relating to electronic security systems components, to include closed circuit television (CCTV), lighting and video systems, cabling and trunking Facilitate the learner to install CCTV lighting and video systems to comply with legislation and relevant standards Analyse health and safety implications in relation to use and installation of electrical equipment and suggest initiatives aimed at reducing associated risks

Section 2 : Theory Skills and Practical

Analyse the characteristics of a range of components used in security installation systems including - Types of cable - Fixings - Types of cable protectors - Batteries - Transformers - Generator - Fixings - Adhesive - Clips Explain a range of electrical skills with installing and testing cables. Explain the use of colour coding in relation to electrical cables. Outline a range of testing and fault finding procedures for security devices to include test for live electrical current Apply connectors to a range of cables to include - Coaxial - fibre optic - electrical Proper use of hand and power tools including - drills - screwdrivers - cutters - electrical test equipment Fix and terminate cables and identify the necessary precautions. Analyse the use of radio signal based installation in comparison to a hardwired installation

Facilitate the learner to understand a range of electrical equipment and terminology: - Hardwiring - Resistors - Relays - Latching - open and closed circuits. - Voltage - watt, amp, types of power supply Facilitate the learner in situating a range of security devices including - CCTV cameras - Intruder alarms - Smoke detectors - Emergency lights and signs - Access control panels Analyse the characteristics of a range of signal transmission media used in security systems - Co-axial - Fibre optic - Microwave, - Infra red links - multi core cable - twisted pair cable - screened cable - data cable Interpret data from a given system specification or blueprint Interpret data from a given system and create diagrams for a range of security systems Use a range of installation techniques for example - Positioning/fixing cables - Cable cutting - Cutting/fixing cable protectors - Cable identification - Fixing connectors - Junction boxes - Sleeving Facilitate the learner to create the relevant documentation in relation to - Testing - Fault finding - Maintenance - Safety Outline a range of precautions to be taken when situating cables Create cabling diagrams for a range of security systems Facilitate the learner to demonstrate the ability to connect a system to a range of cables including - cable cutting - cutting/fixing cable protectors - cable identification - fixing connectors - junction boxes - sleeving Facilitate the learner to demonstrate the ability to connect a system to a mains supply by the use of a spur socket

- Assessment

11a.	Assessment Techniques

Skills Demonstration	60%

Examination      		40%

11b.	Mapping of Learning Outcomes to Assessment Techniques
In order to ensure that the learner is facilitated to demonstrate the achievement of all learning outcomes from the component specification; each learning outcome is mapped to an assessment technique(s). This mapping should not restrict an assessor from taking an integrated approach to assessment.

| Learning Outcome | Assessment Technique |
| --- | --- |
| - Summarise key legislation and standards relating to electronic security systems components, to include closed circuit television (CCTV), lighting and video systems, cabling and trunking | Examination |
| - Analyse the characteristics of a range of component and devices employed in security systems to include types of cable, fixings, types of cable protectors, batteries, transformer and a generator | Examination/ Skills Demonstration |
| - Analyse health and safety implications in relation to use and installation of electrical equipment and suggest initiatives aimed at reducing associated risks | Examination/ Skills Demonstration |
| - Explain the characteristics of a range of materials utilised by the security installation sector to include fixings, adhesives and clips | Skills Demonstration |
| - Interpret a range of electrical terminology to include terms associated with hardwiring, resistors, relays, latching, open and closed circuits. voltage, watt, amp, types of power supply | Examination |
| - Outline the criteria for situating a range of security devices to include CCTV cameras, intruder alarms, smoke detectors, emergency lights and signs, access control panels | Examination/ Skills Demonstration |
| - Analyse the characteristics of a range of signal transmission media used in security systems to include co-axial, fibre optic, microwave, infra red links, multi core cable, twisted pair cable, screened cable, data cable | Examination/ Skills Demonstration |
| - Explain the use of colour coding in relation to electrical cables | Examination |
| - Outline a range of testing and fault finding procedures for security devices to include test for live electrical current | Skills Demonstration |
| - Analyse the use of radio signal based installation in comparison to a hardwired installation | Examination |
| - Outline a range of precautions to be taken when situating cables | Examination/ Skills Demonstration |
| - Interpret data from a given system specification or blueprint | Examination/ Skills Demonstration |
| - Apply connectors to a range of cables to include coaxial, fibre optic and electrical | Skills Demonstration |
| - Employ a range of installation techniques to include positioning /fixing cables, cable cutting, cutting/fixing cable protectors, cable identification, fixing connectors, junction boxes and sleeving | Skills Demonstration |
| - Work independently with a range of hand and power tools to include drills, screwdrivers, cutters and electrical test equipment | Skills Demonstration |
| - Create a range of relevant documentation in relation to testing, fault finding, maintenance and safety | Skills Demonstration |
| - Create cabling diagrams for a range of security systems | Examination/ Skills Demonstration |
| - Demonstrate the ability to connect a system to the mains supply by the use of a spur socket. | Skills Demonstration |

11c.  	Guidelines for Assessment Activities

The assessor is required to devise assessment briefs and marking schemes for the skills demonstration and the examination papers, marking schemes and outline solutions for the Examination.  In devising the assessment briefs/examination papers, care should be taken to ensure that the learner is given the opportunity to show evidence of achievement of ALL the learning outcomes.

Assessment briefs may be designed to allow the learner to make use of a wide range of media in presenting assessment evidence, as appropriate. Quality assured procedures must be in place to ensure the reliability of learner evidence.

| Skills Demonstration | 60% |
| --- | --- |
| The learner will complete three Skills Demonstrations at appropriate intervals during the programme. Evidence of the Skills Demonstration must be included in the assessment portfolio. The evidence may be photographs, video, audio or digital evidence, or other appropriate evidence of the learner completing the tasks |  |
| Skills Demonstration 1 The learner will complete practical skills that demonstrates the following: - Install cable and devices to a predefined brief requiring a range of installation techniques to include positioning/fixing cables, cable cutting and termination. - Use a range of fault finding techniques to verify the installation. Evidence for this Skills Demonstration may be photographs or video evidence of the learner completing the task and a written account of the task. All instructions for the learner must be clearly outlined in an assessment brief Skills Demonstration 2 The learner will complete practical skills to demonstrate the following: - Install cable and devices to a predefined brief requiring fixing cable protectors, cable identification and junction boxes. - Demonstrate the use of series and spur connections. - Use a range of fault finding techniques to verify the installation Evidence for this Skill Demonstration may be photographs or video evidence of the learner completing the task and a written account of the task. All instructions for the learner must be clearly outlined in an assessment brief Skills Demonstration 3 The learner will complete practical skills to demonstrate the following: - Working to a predefined brief, install a control panel to a mains spur box using three core flex. The spur box should be connected to the main supply using single core twin and earth cable. - Outline the dangers, precautions and safety procedures required. - Identify a suitable fuse for the spur box. Evidence of this Skill Demonstration may be photographs or video evidence of the learner completing the task and a written account of the task. All instructions for the learner must be clearly outlined in an assessment brief |  |

| Examination | 40% |
| --- | --- |
| The Examination will be of a duration of one hour 30 minutes It will entail answering - 10 of 12 short questions - 2 of 3 structured questions |  |
| The internal assessor will devise a theory based examination that assesses the student on a range of learning outcomes which may include the following - Current legislation regulations and standards - Range of electrical terminology and symbols - Range of signal transmission and media - Surveying and installing security systems Evidence for this assessment technique may take the form of written examination All instructions for the learner must be clearly outlined in an examination paper |  |

- Grading

Distinction: 	80% - 100%

Merit:		65% - 79%

Pass: 		50% - 64%

Unsuccessful:	0% - 49%

At levels 4, 5 and 6 major and minor awards will be graded. The grade achieved for the major award will be determined by the grades achieved in the minor awards.

| Cable and Pre-Installation Techniques 5N1772 | Learner Marking Sheet 1 Skills Demonstration 60% |
| --- | --- |

Learner’s Name: ________________________________		Learner’s PPSN: ________________

| Assessment Criteria | MaximumMark | LearnerMark |
| --- | --- | --- |
| Skills Demonstration 1 - Installing and verifying cabling equipment e.g. alarm panel - Thorough organisation and planning of task - Safe use of tools and techniques - Testing of completed task | 5 5 5 5 |  |
| Subtotal | 20 |  |
| - Skills Demonstration 2 - Installing and verifying cabling equipment e.g. CCTV, co-axial cables, bell box - Thorough organisation and planning of task - Safe use of tools and techniques - Testing of completed task | 5 5 5 5 |  |
| - Subtotal | 20 |  |
| - Skills Demonstration 3 - Connect system to mains supply –mains spur - Thorough organisation and planning - Safe use of tools and techniques - Testing of completed task | 5 5 5 5 |  |
| Subtotal | 20 |  |
| Total Mark | 60 |  |

Assessor’s Signature: 			_________________________		Date: ___________________

External Authenticator’s Signature: 	_________________________		Date: ___________________

| Cable and Pre-Installation Techniques 5N1772 | Learner Marking Sheet Examination 40% |
| --- | --- |

Learner’s Name: ________________________________		Learner’s PPSN: ________________

| Assessment Criteria |  | MaximumMark |  | LearnerMark |
| --- | --- | --- | --- | --- |
| Section A: short answer questions 12 short questions answer 10 (2 mark each) (Indicate questions answered) Question No.:* __________ __________ __________ __________ __________ _________ __________ __________ __________ __________ __________ |  | 2 2 2 2 2 2 2 2 2 2 |  |  |
| - Subtotal |  | 20 |  |  |
| Section B: Structured questions 3 questions answer 2 (10 Marks each) (Indicate questions answered) Question No.:* __________ __________ | 10 10 |  |  |  |
| - Subtotal | 20 |  |  |  |
| Total Mark | 40 |  |  |  |

Assessor’s Signature: 			_________________________		Date: ___________________

External Authenticator’s Signature: 	_________________________		Date: ___________________